## Tabelle1
Recordings Munich Forschungshaus 4/5/6.2.2014
2014-02-04 | Subject Pedro Sa
| Time | Sensors | Task | sequence of events | comments | File label | path | Qualisis file |  | Soles path | Soles data file | comment soles
| 18:22 | 4 MOMOs | Standing |  | Just standing. The motors of the treadmill were off. Aim: to see whether magnetometers will react to the electric field of the motors. | Test 1
| 18:24 | 4 Momos Qualisis | Walking 2 km/h | chaotic | Dont use this file | test 2
| 18:31 | 4 Momos Qualisis |  | chaotic | Dont use this file | Test 3
| 18:33 | 4 Momos Qualisis | walking 2 km/h | Standing, increase treadmill velocity, walk at steady speed 40 s,decerase velocity, stand, stop recording | Start of recodings of MOMOS and Qualisis were at the same time. Walking distance 30 m | test 4
| 18:40 | 4 Momos Qualisis | 4 km/h | as above | steaddy walking speed for 40 s; not all momos did recorde | test 5
| 18:46 | 4 Momos Qualisis | 6 km/h | as above | one Marker fell off | test 6
| 18:50 | 4 Momos Qualisis | 6 km/h | as above | steady velocity for 40 s, walking distance 110 m, not all momos did recorde | test 7
| 19:14 | 4 Momos Qualisis | 4km/h | as above | repetition, now all MomOs OK,; steda speed from 23 s on, 40 s stable walking speed; total duration 1.30 min, walking distance 63 m | test 8
| 19:18 | 4 Momos Qualisis | 6 km/h | as above | 6 km/h reaced as 30 s. 40 s stable velocity. Total duration 1.47 min. 1 marker lost | test 9
| 19:23 | 4 Momos Qualisis | 6 km/h | as above | 6 km/h reaced as 30 s. 40 s stable velocity. Total duration 1.42 min. No marker lost. Total distance 112 m | test 10
| GaitWatch Recordings Pedro Sa 4.5.2014 |  |  | legs: | height:
gait watch file
| 20:15 | GaitWatch, soles, Qualisis | 2 km/h |  | error, dont take this file | GW 01 |  |  | GaitWatch_1319_040214_2014.mat
| 20:16 | GaitWatch, soles, Qualisis | 2 km/h | standing, stepping once right foot, then left foot, start walking until desired speed is reached, walk at stedy soeed 40 s, decelerate, stand, step right foot, then left foot, stop recording. Qualisis and Gait Watch recordings were stared at the same time | 58 m | GW 02 |  |  | GaitWatch_1320_040214_2016.mat |  | gw02.csv
| 20:18 | GaitWatch, soles, Qualisis | 4 km/h | as above | 63 m | GW 03 |  |  | GaitWatch_1321_040214_2018.mat |  | gw03.csv
| 20:22 | GaitWatch, soles, Qualisis | 6 km/h | as above | 112 m | GW 04 |  |  | GaitWatch_1322_040214_2022.mat |  | gw04.csv
2014-02-05 | Subject: Alexander Knorr
| 16:23 | GaitWatch, Qualisis | 2km/h | as above |  | gw_subj2_010119 |  | 1 | GaitWatch_1323_050214_1623.mat
| 16:26 | GaitWatch, Qualisis | 4 km/h | as above |  | gw_subj2_020120 |  | 2 | GaitWatch_1324_050214_1625.mat
| 16:28 | GaitWatch, Qualisis | 6 km/h | as above |  | gw_subj2_030121 |  | 3 | GaitWatch_1325_050214_1628.mat
4
2014-02-05 | Subject: Murat Sarglam |  |  | legs: 104/59 | height: 193 |  |  | 5
6
| 16:46 | GW/Q | 2 km/h | as above | batteries low? | gw_subj3_010122 |  | 7 | GaitWatch_1326_050214_1646.mat
| 16:49 |  | 4 km/h | as above |  | gw_subj3_020123 |  | 8 | GaitWatch_1327_050214_1649.mat
| 16:52 |  | 6 km/h | as above |  | gw_subj3_030124 |  | 9 | GaitWatch_1328_050214_1652.mat
10
2014-02-05 | Subject: Stefan Kammermeier |  |  | legs: 97/58 | height: 193 | gw_subj4_04 |  | 11
12
| 17:15 | GW/Q/MOMO | 2 km/h |  | marker off | gw_subj4_010125 |  | 13 | GaitWatch_1329_050214_1715.mat | n | too many Qaul data missing
| 17:21 | GW/Q/MOMO | 2 km/h |  |  | gw_subj4_020126 |  | 14 | GaitWatch_1330_050214_1721.mat |  | too many Qaul data missing
| 17:23 | GW/Q/MOMO | 4 km/h |  | 1 Marker missing | gw_subj4_030127 |  | 15 | GaitWatch_1331_050214_1723.mat |  | too many Qaul data missing
| 17:27 | GW/Q/MOMO | 4 Km/H |  |  | gw_subj4_04 | 72 m | 16 | GaitWatch_1332_050214_1727.mat |  | qualisys left thigh not good
| 17:36 | GW/Q/MOMO | 4 km/h |  |  | gw_subj4_05 | 76 m | 17 | GaitWatch_1333_050214_1736.mat | n
| 17:40 | GW/Q/MOMO | 6 Km/h |  | Gait Watch failure ?? | gw_subj4_06 | 76 m | 18 | GaitWatch_1334_050214_1738.mat
| 17:42 | GW/Q/MOMO | 6 Km/h |  |  | gw_subj4_07 | 109 m | 19 | GaitWatch_1336_050214_1741.mat
20
2014-02-05 | Subject: Albero Olivares |  |  | legs: 95/55 | height: 183 |  |  | 21
22
| 18:07 | GW/Q/MOMO | 2 km/h |  | marker loose | gw_subj5_01 |  | 23 | GaitWatch_1337_050214_1806.mat
| 18:13 | GW/Q/MOMO | 2 km/h |  |  | gw_subj5_02 | 35 m | 24 | GaitWatch_1338_050214_1813.mat
| 18:16 | GW/Q/MOMO | 4 km/h |  |  | gw_subj5_03 | 73 m | 25 | GaitWatch_1339_050214_1815.mat
| 18:18 | GW/Q/MOMO | 6 km/h |  |  | gw_subj5_04 | 113 m | 26 | GaitWatch_1340_050214_1818.mat
27
2014-02-05 | Subject: Bernhard Blum |  |  | legs: 93/57 | height: 182 |  |  | 28
29
| 18:36 | GW/Q/MOMO | 2 km/h |  |  | gw_subj6_01 | 35 | 30 | GaitWatch_1341_050214_1836.mat
| 18:39 | GW/Q/MOMO | 4 km/h |  |  | gw_subj6_02 | 76 | 31 | GaitWatch_1342_050214_1838.mat
| 18:41 | GW/Q/MOMO | 6 km/h |  |  | gw_subj6_03 | 114 | 32 | GaitWatch_1343_050214_1841.mat
33
2014-02-05 | Subject: Joao Cunha |  |  | legs: 89/51 | height: 173 |  |  | 34
35
| 19:05 | GW/Q/MOMO | 2 km/h |  |  | gw_subj7_01 | 34 | 36 | GaitWatch_1344_050214_1904.mat
| 19:09 | GW/Q/MOMO | 2 km/h |  |  | gw_subj7_02 | 37 | 37 | GaitWatch_1345_050214_1909.mat
| 19:11 | GW/Q/MOMO | 4 km/h |  |  | gw_subj7_03 | 74 | 38 | GaitWatch_1346_050214_1911.mat
| 19:13 | GW/Q/MOMO | 6 km/h |  |  | gw_subj7_04 | 95 | 39 | GaitWatch_1347_050214_1913.mat
40
2014-02-06 | Subject: Max Einhäupl (ME) |  |  | legs: 92/54 | height: 183 |  |  | 41
| 14:54 | GW/Q/MOMO | 2 km/h |  |  | gw_subj8_01 | 39 | 42 | GaitWatch_1348_060214_1453.mat |  |  | Gute Korrespondenz zw GW und Q daten !!
| 14:56 | GW/Q/MOMO | 4 km/h |  |  | gw_subj8_02 | 72 | 43 | GaitWatch_1349_060214_1456.mat
| 14:48 | GW/Q/MOMO | 6 km/h |  |  | gw_subj8_03 | 107 | 44 | GaitWatch_1350_060214_1458.mat
45
46
2014-02-06 | Subject: Matthias Mulazzani |  |  | legs: 94/53 | height: 190 |  |  | 47
| 15:26 | GW/Q/MOMO | 2 km/h |  |  | gw_subj9_01 |  | 48 | GaitWatch_1351_060214_1525.mat | nicht
| 15:28 | GW/Q/MOMO | 4 km/h |  |  | gw_subj9_02 |  | 49 | GaitWatch_1352_060214_1528.mat | nicht
| 15:30 | GW/Q/MOMO | 6 km/h |  |  | gw_subj9_03 |  | 50 | GaitWatch_1353_060214_1530.mat | nicht
51
52
| Subject: Filip Filipoppulos |  |  | legs: 106/62 | height: 196 |  |  | 53
| 15:59 | GW/Q/MOMO | 2 km/h |  |  | GW_subj_10_01 |  | 54 | GaitWatch_1354_060214_1559.mat | nicht nehmen !! Gyro left shank defekt
| 16:01 | GW/Q/MOMO | 4 km/h |  |  | GW_subj_10_02 |  | 55 | GaitWatch_1355_060214_1601.mat | nicht nehmen !! Gyro left shank defekt
| 16:04 | GW/Q/MOMO | 6 km/h |  |  | GW_subj_10_03 |  | 56 | GaitWatch_1356_060214_1603.mat | nicht nehmen !! Gyro left shank defekt
57
2014-02-06 | Subject: Lei Zang |  |  | legs: 88/51 | height: 178 |  |  | 58
59
| 16:29 | Q/MOMO | 2 km/h |  | No gaitWatch Recordings! | gw_subj11_01 |  | 60
| 16:31 | Q/MOMO | 4 km/h |  |  | gw_subj11_02 |  | 61
| 16:33 | Q/MOMO | 6 km/h |  |  | gw_subj11_03 |  | 62
63
2014-02-07 | Subject: Martin Bartels |  |  | legs: 88/58 | 185 | age 30 |  | 64
65
| 12:55 | GW/Q/MOMO/soles | 2 km/h |  |  | GW_subj12_01 |  | 66 | GaitWatch_1358_070214_1255.mat
| 12:58 | GW/Q/MOMO/soles | 4 km/h |  |  | GW_subj_12_02 |  | 67 | GaitWatch_1359_070214_1257.mat
| 13:00 | GW/Q/MOMO/soles | 6 km/h |  |  | GW_subj_12_03 |  | 68 | GaitWatch_1360_070214_1300.mat
69
2014-02-07 | Subject Matthias Ertl (MR) |  |  | legs: 98/58 | height: 187 |  |  | 70
71
| 13:25 | GW/Q/MOMO/soles | 2 km/h |  |  | GW_subj_13_01 |  | 72 | GaitWatch_1361_070214_1325.mat |  | insoles_subj13_01.csv | soles: only pressure data
| 13:27 | GW/Q/MOMO/soles | 4 km/h |  | soles: no gyro&acc-data | GW_subj_13_02 |  | 73 | GaitWatch_1362_070214_1327.mat |  | insoles_subj13_02.csv | soles: only pressure data
| 13:30 | GW/Q/MOMO/soles | 6 km/h | Velocity correct?? |  | GW_subj_13_03 |  | 74 | GaitWatch_1363_070214_1329.mat |  | insoles_subj13_03.csv | soles: only pressure data
| 13:35 | GW/Q/MOMO/soles | 6 km/h |  |  | GW_subj_13_04 |  | 75 | GaitWatch_1364_070214_1333.mat |  | insoles_subj13_04.csv | soles: OK
76
77
2014-02-07 | Subject: Lei Zang |  |  | legs: 88/51 | height: 178 |  |  | 78
79
| 14:00 | GW/Q/MOMO/soles | 2 km/h |  |  | gw_subj11_04 |  | 80 | GaitWatch_1365_070214_1400.mat |  | insoles_subj11_01.csv | soles: only pressure data
| 14:02 | GW/Q/MOMO/soles | 4 km/h |  |  | gw_subj11_05 |  | 81 | GaitWatch_1366_070214_1402.mat |  |  | soles: no file
| 14:03 | GW/Q/MOMO/soles | 6 km/h |  | soles not working | gw_subj11_06 |  | 82 | GaitWatch_1367_070214_1404.mat |  | insoles_subj11_03.csv | soles: only pressure data
83
84
85
2015-04-01 |  | Jan Mehrkens |  | legs 97/56 |  |  |  | 86
|  | GW/soles | 2 km/h | 38 m |  |  |  | 87 | GaitWatch_1873_010415_0923.mat | C:\KB_Data\Qualisis&Treadmill\1 st april 2015\Subject 1 | data_21.csv
|  | GW/soles | 4 km/h | 38 m |  |  |  | 88 | GaitWatch_1874_010415_0925.mat | C:\KB_Data\Qualisis&Treadmill\1 st april 2015\Subject 1 | data_22.csv
|  | GW/soles | 6 km/h | 38 m |  |  |  | 89 | GaitWatch_1875_010415_0926.mat | C:\KB_Data\Qualisis&Treadmill\1 st april 2015\Subject 1 | data_23.csv
90
91
2015-04-01 |  | Johannes Levin |  | legs 99/59 |  |  |  | 92
|  |  | 2 | 38 m |  |  |  | 93 | GaitWatch_1876_010415_0956.mat | C:\KB_Data\Qualisis&Treadmill\1 st april 2015\Subject 2 | data_01.csv
|  |  | 4 | 38 m |  |  |  | 94 | GaitWatch_1877_010415_0959.mat | C:\KB_Data\Qualisis&Treadmill\1 st april 2015\Subject 2 | data_02.csv
|  |  | 6 | 38 m |  |  |  | 95 | GaitWatch_1878_010415_1000.mat | C:\KB_Data\Qualisis&Treadmill\1 st april 2015\Subject 2 | data_03.csv
96
97
|  | Franz Hell |  | legs 108/62 |  |  |  | 98
|  |  | 2 | 38 m |  |  |  | 99 | GaitWatch_1879_010415_1024.mat | C:\KB_Data\Qualisis&Treadmill\1 st april 2015\Subject 3 | data_01.csv
|  |  | 4 | 38 m |  |  |  | 100 | GaitWatch_1880_010415_1026.mat | C:\KB_Data\Qualisis&Treadmill\1 st april 2015\Subject 3 | data_02.csv
|  |  | 4 | 38 m |  |  |  | 101 | GaitWatch_1881_010415_1028.mat | C:\KB_Data\Qualisis&Treadmill\1 st april 2015\Subject 3 | data_03.csv
|  |  | 6 | 38 m |  |  |  | 102 | GaitWatch_1882_010415_1030.mat | C:\KB_Data\Qualisis&Treadmill\1 st april 2015\Subject 3 | data_04.csv
103
104
2015-04-02 |  | Hans Hintermeier |  | legs ?? |  |  |  | 105
|  |  | 2 | 38 m |  |  |  | 106 | GaitWatch_1883_020415_0939.mat | C:\KB_Data\Qualisis&Treadmill\2 nd april 2015\Subject 4 | data_01.csv
|  |  | 2 | 38 m |  |  |  | 107 | GaitWatch_1884_020415_0941.mat | C:\KB_Data\Qualisis&Treadmill\2 nd april 2015\Subject 4 | data_02.csv
|  |  | 4 | 38 m |  |  |  | 108 | GaitWatch_1885_020415_0943.mat | C:\KB_Data\Qualisis&Treadmill\2 nd april 2015\Subject 4 | data_03.csv
|  |  | 6 | 38 m |  |  |  | 109 | GaitWatch_1886_020415_0944.mat | C:\KB_Data\Qualisis&Treadmill\2 nd april 2015\Subject 4 | data_04.csv
110
|  | Hr. Schöberl |  | legs |  |  |  | 111
|  |  | 2 | 38 m |  |  |  | 112 | GaitWatch_1887_020415_1040.mat | C:\KB_Data\Qualisis&Treadmill\2 nd april 2015\Subject 5 | data_01.csv
|  |  | 4 | 38 m |  |  |  | 113 | GaitWatch_1888_020415_1042.mat | C:\KB_Data\Qualisis&Treadmill\2 nd april 2015\Subject 5 | data_02.csv
|  |  | 6 | 38 m |  |  |  | 114 | GaitWatch_1889_020415_1043.mat | C:\KB_Data\Qualisis&Treadmill\2 nd april 2015\Subject 5 | data_03.csv
115
116
|  | Hr Höhne |  | legs |  |  |  | 117
|  |  | 2 | 38 m |  |  |  | 118 | GaitWatch_1890_020415_1055.mat | C:\KB_Data\Qualisis&Treadmill\2 nd april 2015\Subject 6 | data_01.csv
|  |  | 4 | 38 m |  |  |  | 119 | GaitWatch_1891_020415_1057.mat | C:\KB_Data\Qualisis&Treadmill\2 nd april 2015\Subject 6 | data_02.csv
|  |  | 6 | 38 m |  |  |  | 120 | GaitWatch_1892_020415_1059.mat | C:\KB_Data\Qualisis&Treadmill\2 nd april 2015\Subject 6 | data_03.csv